|  | Rad Hesgar Melal Co. PH SENSOR AND TRANSMITTER ONLINE PH METER |
| --- | --- |

Technical parameters

- Measure range: 0–14 pH

- Temperature range: 0–60℃ for general cables

- Temperature compensation: 10 KΩ/2.252KΩ/Pt100/Pt1000

- Zero potential point: 7 ± 0.5 pH

- Conversion coefficient: > 98%

- Membrane resistance: < 250 MΩ

- Practical response time: < 1 min

- Salt bridge: Porous Teflon

- Pressure resistance: 1 ~ 3 Bar at 25℃

- Thread Connection: 3/4 NPT

Application

In sewage treatment and fields including mining and smelting, papermaking, paper pulp, textiles, petrochemical industry, process of semiconductor electronic industry and downstream engineering of biotechnology.

| Description | Explanations |
| --- | --- |
| Measuring medium | Liquid |
| Temperature compensation | Automatic |
| Range | 0–14 pH |
| Supply | 15 ~ 26 VDC (power consumption<0.2W) |
| Accuracy | ±3% |
| Response time | 1s |
| Output Signal | Modbus RS485 4-20 mA (Depends on customer order) |
| Operating temperature | -5 ~ +65 (̊C) |
| Cable length | Default:3m |