|  |  |
| --- | --- |
|  | **Rad Hesgar Melal Co.**  **TOTAL DISSOLVED SOLIDS(TDS) SENSOR AND TRANSMITTER**  ONLINE ELECTRICAL TDS METER |
|  |  |

|  |  |
| --- | --- |
| FEATURES   * Online & real-time measurement * High accuracy * Electromagnetic isolation * Strong resistance to corrosion * Polarization resistance * Digital/Analog output * 316L stainless steel electrode | APPLICATIONS   * Environmental protection * Aquaculture * Water source monitoring * Environmental monitoring * Sewage treatment |

**TECHNICAL SPECIFICATION**

|  |  |
| --- | --- |
| Description | Explanations |
| Measuring medium | Liquid |
| Temperature compensation | Automatic |
| Range | 0 ~ 10 ppm |
| Supply | 15 ~ 26 VDC (power consumption<0.2W) |
| Accuracy | ±3% |
| Response time | 1s |
| Output Signal | Modbus RS485  4-20 mA  (Depends on customer order) |
| Electrode | 316L stainless steel |
| Operating temperature | -5 ~ +65 (̊C) |
| Probe material | 316L and ABS |
| Ingress protection | Probe: IP68  Body: IP65 |
| Cable length | Default:2m |